## All items
ITB No. 18-19-010 - RIVERVIEW STORMSEWER PUMP STATION EMERGENCY NEW GENERATOR, CO2 FIRE SUPPRESSANT SYSTEM AND MAIN SWITCH DISCONNECT, M-0127C
EXHIBIT 1: Price Sheet - Bid Tabulation
ITEM # | DESCRIPTION | Original Quantity | UNIT | UNIT PRICE | TOTAL ITEM COST
1 | Furnishing all labor, material and equipment for the complete removal of the existing diesel generator including the generator pad and all pipes, mechanical and electrical fixtures and appurtenances as described in the approved plans and General Conditions | 1 | LS |  | 0
2 | Furnishing all labor, material and equipment to install a new concrete generator pad, 30' - 2" x 9' - 0' x 1' - 6" and provide 10- mil polyethylene vapor barrier with minimum 6" wide Z-lock type lapping Visqueen or approved equal per plan sheet C-4 #6 and as described in the General Conditions. | 1 | LS |  | 0
3 | Furnishing all labor, material, equipment for the proposed Electrical Work as described in the approved plans and General Conditions | 2 | LS |  | 0
4 | Furnishing all labor, material and equipment for the proposed Mechanical Work as described in the approved plans and General Conditions | 1 | LS |  | 0
5 | Furnishing all labor, material and equipment in order to install a HVAC System including the equipment as specified by manufacturer's number shall include all accessories, controls, as listed in the catalog as standard with the equipment an accessories shall be furnished as specified per HVAC General Notes in Sheet M-1 and as described in General Conditions | 1 | LS |  | 0
6 | Furnishing all labor, material and equipment for the installation of an Electrical Riser and Grounding Rod per approved plans Sheet EE-2 and as described in General Conditions | 1 | LS |  | 0
7 | Furnishing all labor, material and equipment necessary for the installation of a CO2 Fire Suppression System Plan per approved plans and as described in the General Conditions | 1 | LS |  | 0
|  |  |  | TOTAL BASE BID CONSTRUCTION COST (Excluding Additive Item 1) | 0
Additive Item 1 | Furnishing all labor, material and equipment necessary for the removal a 35,000 gpm pump (Pump #3), then purchasing and installation of a vertical 35,000 gpm Fairbanks-Morse 36” axial pump, 580 rpm , 2-stage pumps,for a 400 HP as described in General Conditions | 1 | LS |  | 0
|  |  |  | TOTAL BID CONSTRUCTION COST FOR ADDITIVE ITEM 1 | 0